Important Information you need to read. Do not include this page with the CCR you provide to customers.
TCEQ provides the CCR Generator as a tool for systems to begin creating their CCR, you must add information to this draft report to make it complete. Instructions: The following pages require manual entry before distribution to your customers and submission to TCEQ. Source water information, water system contact information, and a phone number must be provided with the Spanish statement (below water system contact). If your system purchases water and is on a limited sampling schedule the wholesale provider water quality data must be included. Disinfectant Residual table - the name of the disinfectant(s) (ex: free chlorine), the annual average, the range of samples for the reported year, and unit of measure (ex: mg/L). For a guided video on completing your CCR, checkout https://www.youtube.com/watch?v=ksTOgC3tV0g. All other information provided by the CCR generator must be included. It is the responsibility of the water system to provide the CCR to customers and TCEQ by July 1, and ensure 
the CCR meets all requirements. For more detailed information and instruction on the CCR, visit https://www.tceq.texas.gov/drinkingwater/ccr.
2024 Consumer Confidence Report for Public Water System CITY OF ARP
	This is your water quality report for January 1 to December 31, 2024
	
	For more information regarding this report contact: 

	
	
	

	
	
	

	CITY OF ARP provides ground water from CARRIZO-WILCOX AQUIFER located in SMITH COUNTY.
	
	Name   _____DONNELL DALE BROWN_______________ 

	
	
	


Phone  ______903-859-6131_______________________
Este reporte incluye información importante sobre el agua para tomar.  Para asistencia en español, favor de llamar al telefono (903) 859-_6131_.
Definitions and Abbreviations
	Definitions and Abbreviations
	
	The following tables contain scientific terms and measures, some of which may require explanation.

	
	
	

	Action Level:
	
	The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.

	
	
	

	
	
	

	
	
	

	Avg:  
	
	Regulatory compliance with some MCLs are based on running annual average of monthly samples.

	
	
	

	Level 1 Assessment:
	
	 A Level 1 assessment is a study of the water system to identify potential problems and determine (if possible) why total coliform bacteria have been found in our water system.

	
	
	

	
	
	

	Level 2 Assessment:
	
	 A Level 2 assessment is a very detailed study of the water system to identify potential problems and determine (if possible) why an E. coli MCL violation has occurred and/or why total coliform bacteria have been found in our water system on multiple occasions.

	
	
	

	
	
	

	Maximum Contaminant Level or MCL:
	
	The highest level of a contaminant that is allowed in drinking water. MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

	
	
	

	
	
	

	Maximum Contaminant Level Goal or MCLG:
	
	The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs allow for a margin of safety.

	
	
	

	Maximum residual disinfectant level or MRDL:
	
	The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

	
	
	

	
	
	

	Maximum residual disinfectant level goal or MRDLG:
	
	The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants.

	
	
	

	MFL
	
	million fibers per liter (a measure of asbestos)

	
	
	

	mrem:
	
	millirems per year (a measure of radiation absorbed by the body)

	
	
	

	na:  
	
	not applicable.

	
	
	

	NTU
	
	nephelometric turbidity units (a measure of turbidity)

	
	
	

	pCi/L
	
	picocuries per liter (a measure of radioactivity)


Definitions and Abbreviations
	ppb:  
	
	micrograms per liter or parts per billion

	
	
	

	ppm:  
	
	milligrams per liter or parts per million

	
	
	

	ppq
	
	parts per quadrillion, or picograms per liter (pg/L)

	
	
	

	ppt
	
	parts per trillion, or nanograms per liter (ng/L)

	
	
	

	Treatment Technique or TT:
	
	A required process intended to reduce the level of a contaminant in drinking water.


Information about your Drinking Water
The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.
Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that water poses a health risk.  More information about contaminants and potential health effects can be obtained by calling the EPAs Safe Drinking Water Hotline at (800) 426-4791.
Contaminants that may be present in source water include:
-   Microbial contaminants, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.
-   Inorganic contaminants, such as salts and metals, which can be naturally-occurring or result from urban storm water runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.
-   Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban storm water runoff, and residential uses.
-   Organic chemical contaminants, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can also come from gas stations, urban storm water runoff, and septic systems.
-   Radioactive contaminants, which can be naturally-occurring or be the result of oil and gas production and mining activities.
In order to ensure that tap water is safe to drink, EPA prescribes regulations which limit the amount of certain contaminants in water provided by public water systems. FDA regulations establish limits for contaminants in bottled water which must provide the same protection for public health.
Contaminants may be found in drinking water that may cause taste, color, or odor problems.  These types of problems are not necessarily causes for health concerns.  For more information on taste, odor, or color of drinking water, please contact the system's business office.
You may be more vulnerable than the general population to certain microbial contaminants, such as Cryptosporidium, in drinking water.  Infants, some elderly, or immunocompromised persons such as those undergoing chemotherapy for cancer; persons who have undergone organ transplants; those who are undergoing treatment with steroids; and people with HIV/AIDS or other immune system disorders, can be particularly at risk from infections. You should seek advice about drinking water from your physician or health care providers.  Additional guidelines on appropriate means to lessen the risk of infection by Cryptosporidium are available from the Safe Drinking Water Hotline (800-426-4791).

If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. We are responsible for providing high quality drinking water, but we cannot control the variety of materials used in plumbing components. When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking. If you are concerned about lead in your water, you may wish to have your water tested. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at http://www.epa.gov/safewater/lead.

Lead Service Line Inventory Data

The City of Arp Water System has developed an inventory of both city-owned and customer-owned service lines.  This inventory serves as a crucial foundation for water systems to address a significant source of lead in drinking water.  To access the inventory, please contact Donnell Dale Brown at 903-859-6131 or visit arptx.com/city services/water utilities.
Information about Source Water
TCEQ completed an assessment of your source water, and results indicate that some of our sources are susceptible to certain contaminants. The sampling requirements for your water system is based on this susceptibility and previous sample data. Any detections of these contaminants will be found in this Consumer Confidence Report. For more information on source water assessments and protection efforts at our system contact DONNELL DALE BROWN, 903-859-6131.
Coliform Bacteria
	Maximum Contaminant Level Goal
	Total Coliform Maximum Contaminant Level
	Highest No. of Positive
	Fecal Coliform or E. Coli Maximum Contaminant Level
	Total No. of Positive E. Coli or Fecal Coliform Samples
	Violation
	Likely Source of Contamination

	0
	1 positive monthly sample.
	1
	
	0
	N
	Naturally present in the environment.


	Lead and Copper
	Date Sampled
	MCLG
	Action Level (AL)
	90th Percentile
	# Sites Over AL
	Units
	Violation
	Likely Source of Contamination

	
	
	
	
	
	
	
	
	

	Copper
	08/25/2022
	1.3
	1.3                                     
	0.36
	0
	ppm      
	N
	Erosion of natural deposits; Leaching from wood preservatives; Corrosion of household plumbing systems.


2024 Water Quality Test Results
2024
	Disinfection By-Products
	Collection Date
	Highest Level Detected
	Range of Individual Samples
	MCLG
	MCL
	Units
	Violation
	Likely Source of Contamination

	
	
	
	
	
	
	
	
	

	Haloacetic Acids (HAA5)
	2024
	34
	20.3 - 35.1
	No goal for the total
	60                                      
	ppb      
	N
	By-product of drinking water disinfection.


*The value in the Highest Level or Average Detected column is the highest average of all HAA5 sample results collected at a location over a year
	Total Trihalomethanes (TTHM)
	2024
	76
	55.3 - 97.2
	No goal for the total
	80                                      
	ppb      
	N
	By-product of drinking water disinfection.


*The value in the Highest Level or Average Detected column is the highest average of all TTHM sample results collected at a location over a year
2024
	Inorganic Contaminants
	Collection Date
	Highest Level Detected
	Range of Individual Samples
	MCLG
	MCL
	Units
	Violation
	Likely Source of Contamination

	
	
	
	
	
	
	
	
	

	Asbestos
	2024
	16
	0.38 - 20.71
	7
	7                                       
	MFL      
	Y
	Decay of asbestos cement water mains; Erosion of natural deposits.

	
	
	
	
	
	
	
	
	

	Barium
	2024
	0.022
	0.018 - 0.022
	2
	2                                       
	ppm      
	N
	Discharge of drilling wastes; Discharge from metal refineries; Erosion of natural deposits.

	
	
	
	
	
	
	
	
	

	Chromium
	2024
	6
	0 - 6
	100
	100                                     
	ppb      
	N
	Discharge from steel and pulp mills; Erosion of natural deposits.

	
	
	
	
	
	
	
	
	

	Fluoride
	2024
	0.691
	0.367 - 0.691
	4
	4.0                                     
	ppm      
	N
	Erosion of natural deposits; Water additive which promotes strong teeth; Discharge from fertilizer and aluminum factories.

	
	
	
	
	
	
	
	
	

	Nitrate [measured as Nitrogen]
	2024
	0.036
	0 - 0.036
	10
	10                                      
	ppm      
	N
	Runoff from fertilizer use; Leaching from septic tanks, sewage; Erosion of natural deposits.


2024
	Synthetic organic contaminants including pesticides and herbicides
	Collection Date
	Highest Level Detected
	Range of Individual Samples
	MCLG
	MCL
	Units
	Violation
	Likely Source of Contamination

	
	
	
	
	
	
	
	
	

	Dalapon
	2024
	1.79
	0 - 1.79
	200
	200                                     
	ppb      
	N
	Runoff from herbicide used on rights of way.

	
	
	
	
	
	
	
	
	

	Di (2-ethylhexyl) phthalate
	2024
	2
	0 - 2.5
	0
	6                                       
	ppb      
	N
	Discharge from rubber and chemical factories.


Disinfectant Residual
A blank disinfectant residual table has been added to the CCR template, you will need to add data to the fields. Your data can be taken off the Disinfectant Level Quarterly Operating Reports (DLQOR).
	Disinfectant Residual
	Year
	Average Level
	Range of Levels Detected
	MRDL
	MRDLG
	Unit of Measure
	Violation (Y/N)
	Source in Drinking Water

	
	
	
	
	
	
	
	
	

	Chlorine
	2024
	.74
	.54 – 1.07
	4
	4
	ppm
	N 
	Water additive used to control microbes.


Violations
	Asbestos

	Some people who drink water containing asbestos in excess of the MCL over many years may have an increased risk of developing benign intestinal polyps.

	Violation Type
	Violation Begin
	Violation End
	Violation Explanation

	MCL,  AVERAGE
	01/01/2024
	03/31/2024
	Water samples showed that the amount of this contaminant in our drinking water was above its standard (called a maximum contaminant level and abbreviated MCL) for the period indicated.

	MCL,  AVERAGE
	04/01/2024
	06/30/2024
	Water samples showed that the amount of this contaminant in our drinking water was above its standard (called a maximum contaminant level and abbreviated MCL) for the period indicated.

	MCL,  AVERAGE

MCL,  AVERAGE


	07/01/2024

10/01/2024


	09/30/2024

12/31/2024_
	Water samples showed that the amount of this contaminant in our drinking water was above its standard (called a maximum contaminant level and abbreviated MCL) for the period indicated.

Water samples showed that the amount of this contaminant in our drinking water was above its standard (called a maximum contaminant level and abbreviated MCL) for the period indicated.



	
	
	
	
	

	
	
	
	
	

	
	
	
	
	


